Job:

Engineer:

Contractor:

Prepared By: 	     		Date:

Model:  	     		Indoor/Outdoor:        	 	MBTUH Input:

Sealed Combustion Chamber

100% Factory Fire Tested

Efficiency: 85%

Minimum Non-condensing Inlet Temperature: 105°F

Thermal Shock Proof Heat Exchanger

Limited Twenty-year Thermal Shock Warranty

Limited Five-year Heat Exchanger Warranty

Full Safety Diagnostics with Fault History

PolyTuf Powder Coated Cabinet

No Combustible Floor Shield Required

Fan-assisted

Non-ferrous Bypass

Patented Burner Security Blanket

#### Heat Exchanger

Brass Headers

ASME Inspected and Stamped
160 PSIG Working Pressure

National Board Approved

Cupro-Nickel Finned Tubing

ASME Steel Tube Sheet

Silicone High-Temp O-Rings

125 PSIG ASME Pressure Relief Valve

Temperature and Pressure Gauge

Water Connections

Left – Standard

Right – Option A-6

Bronze Pump, 120V, 60Hz

Non-ferrous Pool Bypass

#### Controls

120V, 60Hz, 1( Power Supply

120/24V 60Hz Transformer

100% Shut-off/Lockout

Hot Surface Ignition Systems (2)

Remote Flame Sensors (2)

High Limit Control, Auto Reset

On/Off Power Switch

Manual Shut-off, Front-mounted

Flow Switch

Blocked Vent Pressure Switch

Combustion Air Proving Switches

Economaster Pump Time Delay

Poolstat

Diagnostic Panel with LCD Display

2 Lines, 20 Characters

#### Gas Train

Combination Valves

On/Off Firing

Low Gas Pressure Switch, Manual

Fuel

Natural Gas (Only on 2002B)

Propane Gas

Design Certified ANSI Z21.56/
CSA 4.7

#### Burner

Ultra-low NOx:
Less than 20 PPM

#### Construction

Indoor/Outdoor Construction

Enclosed Front Controls

CSA Low Lead Certified ≤ .25% Lead

#### Venting

Vent Location

Top – Standard

Rear – Option D-14

Vent Termination Cap

Outdoor – Option D-11

Indoor, Horizontal – 
Option D-15

Indoor, Vertical (by others)

Combustion Air

In-Line Filter Kit (TruSeal 
only) – Option D-17

#### Air Intake Elbow – 
Option D-16

#### Options

B-26	2-Stage Digital

B-21	4-Stage Digital

B-__	TempTracker Mod+ (Up to 16 Boilers)

#### Options

C-6	Ignition Module, Manual Reset

D-21	TruSeal® Direct Vent

Right Side

Left Side (Model 1802B   	Only)

F-10	Low Water Cut-off, Remote Probe

P-__	Cold Water Run System

(See Page 3)

S-2	Dual High Gas Pressure Switches, Manual Reset

X-1	SureRack® Kit*

X-2	SureRack Kit  	Above Grade Add-on (used with X-1)*

#### Regulatory Agency Requirements

G-1	CSD-1

*Lower unit requires manifold modification

#### Hi Delta – Type P

#### Models 1532B-2342B (H-Bypass Option)	Model

** Requires separate circuit breaker

#### Hi Delta – Type P

#### Models 1532B-2342B (Cold Water Run Option)	Model

*Separate 120 VAC or 240 VAC 1Ø power required for Cold Water Run option

** Requires separate circuit breaker

# Text boxes

# Hi Delta® - Type P

## Commercial Pool Heaters Models 1532B-2342B

Patent No. 7,044,124

Standard “H” Bypass Shown

Proudly Assembled in the USA

| Model | Max. Flow |
| --- | --- |
|  | GPM | ∆P (ft) | ∆T |
| P 1532B | 132 | 16.5 | 20 |
| P 1802B | 132 | 18.3 | 23 |
| P 2002B | 132 | 19.0 | 26 |
| P 2072B | 132 | 19.0 | 27 |
| P 2342B | 132 | 21.4 | 30 |

| Model | MBTUH | A Width | K | W | Amp Draw | Pump HP | Shipping Weight (Lbs.) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Input | Output |  |  |  | Heater | Pump |  |  |
| P 1532B | 1530 | 1301 | 79-7/8 | 12 | 24-3/8 | <12 | 11 | 3/4 | 1225 |
| P 1802B | 1800 | 1530 | 91-1/8 | 14 | 28-1/8 | <12 | 11 | 3/4 | 1350 |
| P 2002B | 1999 | 1699 | 102-1/2 | 14 | 31-15/16 | <12 | 14** | 1 | 1450 |
| P 2072B | 2070 | 1760 | 102-1/2 | 14 | 31-15/16 | <12 | 14** | 1 | 1450 |
| P 2342B | 2340 | 1989 | 113-7/8 | 16 | 35-11/16 | <12 | 21** | 1-1/2 | 1520 |

Dimensions are in inches.

Ratings shown are for elevations up to 4,500 feet and for natural or propane gas.

For installation at elevations over 4,500 feet, please contact manufacturer.

| Model | Max. Flow |
| --- | --- |
|  | GPM | ∆P (ft) | ∆T |
| P 1532B | 132 | 16.5 | 20 |
| P 1802B | 132 | 18.3 | 23 |
| P 2002B | 132 | 19.0 | 26 |
| P 2072B | 132 | 19.0 | 27 |
| P 2342B | 132 | 21.4 | 30 |

| Model | MBTUH | A Width | K | W | Amp Draw | Pump HP | Injector Pump HP | Shipping Weight (Lbs.) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Input | Output |  |  |  | Heater | Pump |  |  |  |
| P 1532B | 1530 | 1301 | 79-7/8 | 12 | 24-3/8 | <12 | 12 | 3/4 | 1/3 | 1225 |
| P 1802B | 1800 | 1530 | 91-1/8 | 14 | 28-1/8 | <12 | 12 | 3/4 | 1/3 * | 1460 |
| P 2002B | 1999 | 1699 | 102-1/2 | 14 | 31-15/16 | <12 | 14 | 1** | 3/4 * | 1560 |
| P 2072B | 2070 | 1760 | 102-1/2 | 14 | 31-15/16 | <12 | 14 | 1** | 3/4 * | 1560 |
| P 2342B | 2340 | 1989 | 113-7/8 | 16 | 35-11/16 | <12 | 21 | 1** | 3/4 * | 1620 |

Dimensions are in inches.

Ratings shown are for elevations up to 4,500 feet and for natural or propane gas.

For installation at elevations over 4,500 feet, please contact manufacturer.

Raypak, Inc.  (  2151 Eastman Avenue, Oxnard, CA  93030  (  (805) 278-5300  (  Fax (800) 872-9725  (  www.raypak.com