Job:

Engineer:

Contractor:

Prepared By:

Model:  	     		Date:

Features

- Small footprint

- Low ceiling height

- Heavy-duty 14-gauge 
construction

- Epoxy powder coat

- Rear or top venting

# Text boxes

Raypak, Inc.  (  2151 Eastman Avenue, Oxnard, CA  93030  (  (805) 278-5300  (  Fax (800) 872-9725  (  www.raypak.com

| Hi Delta Model No. | Two-unit Rack | Three-unit Rack | Width (B) (in.) |
| --- | --- | --- | --- |
|  | Part No. | Weight (lbs) | Part No. | Weight (lbs) |  |
| 122 - 202 | 008911 | 75 | 008913 | 108 | 36 1/8 |
| 242 - 322 | 008912 | 87 | 008914 | 126 | 49 5/8 |

Dimensions are in inches

# SureRack™ Kit

## Stacking System for
Hi Delta® Boilers

## Models 122-322