# Hi Delta® - Type P

## Commercial Pool Heaters Models 502B-902B

# Hi Delta® - Type P

## Commercial Pool Heaters Models 502B-902B

Job:

Engineer:

Contractor:

Prepared By: 	     		Date:

Model:  	     		Indoor/Outdoor:        	 	MBTUH Input:

Sealed Combustion Chamber

100% Factory Fire Tested

Efficiency: 85%

Minimum Non-condensing Inlet Temperature: 105°F

Thermal Shock Proof Heat Exchanger

Limited Twenty-year Thermal Shock Warranty

Limited Five-year Heat Exchanger Warranty

Full Safety Diagnostics with Fault History

PolyTuf Powder Coated Cabinet

Patent No. 7,044,124

Patent No. 7,044,124

No Combustible Floor Shield Required

Fan-assisted

Proudly Assembled in the USA

Proudly Assembled in the USA

Standard “Sparcomatic” Bypass Shown

Standard “Sparcomatic” Bypass Shown

Non-ferrous Bypass

Patented Burner Security Blanket

#### Heat Exchanger

Brass Headers

ASME Inspected and Stamped
160 PSIG Working Pressure

National Board Approved

Cupro-Nickel Finned Tubing

ASME Steel Tube Sheet

Silicone High-Temp O-Rings

125 PSIG ASME Pressure Relief Valve

Temperature and Pressure Gauge

Water Connections

Left – Standard

Right – Option A-6

Bronze Pump, 1/2 HP, 120V, 60Hz

Non-ferrous Pool Bypass Assembly

- with Automatic Control

#### Controls

120V, 60Hz, 1 Power Supply

120/24V 60Hz Transformer

100% Pilot Shutoff/Lockout

Hot Surface Ignition

Remote Flame Sensor

High Limit Control, Manual Reset

On/Off Power Switch

Thermostat Override Switch

Manual Shut-off, Front-mounted

Flow Switch

Blocked Vent Pressure Switch

Combustion Air Proving Switch

Economaster Pump Time Delay

Poolstat

Diagnostics Panel with LCD Display,

- 2 Lines, 20 Characters

#### Gas Train

Combination Valves

On/Off Firing

Fuel

Natural Gas

Propane Gas

Design Certified ANZI Z21.56/
CSA 4.7

#### Burner

Ultra-low NOx:
Less than 20 PPM

#### Construction

Indoor/Outdoor Construction

Enclosed Front Controls

PolyTuf Powder Coat Finish

CSA Low Lead Certified ≤ .25% Lead

#### Venting

Vent Location

Top – Standard

Rear – Option D-14

Vent Termination Cap

Outdoor – Option D-11

Indoor, Horizontal – 
Option D-15

Indoor, Vertical (by others)

Combustion Air

In-Line Filter Kit (TruSeal only) – Option D-17

Air Intake Elbow – 
Option D-16

#### Multi-Heater Controllers

#### B-26	2-Stage Digital

#### B-21	4-Stage Digital

#### B-__	TempTracker Mod+ (Up to 16 Boilers)

#### Options

C-6	Ignition Module, Manual Reset

D-21	TruSeal® Direct Vent

Left Side - Standard 
 Right Side - Optional

F-10	Low Water Cut-Off, 
Remote Probe

P-__	Cold Water Run System

(See Page 3)

S-1	Low Gas Pressure Switch, Manual Reset

S-2		High Gas Pressure Switch, Manual Reset

X-1	SureRack® Kit (Lower Unit Requires Manifold Modification)

X-2	SureRack Add-On (Lower Unit Requires Manifold Modification)

Regulatory Agency Requirements

G-1	CSD-1

#### Hi Delta – Type P

#### Models 502B – 902B (“Sparcomatic’’ Bypass Option)	Model

RATE OF FLOW AND PRESSURE DROP

| ###### Model | ###### Max. Flow |  |  |
| --- | --- | --- | --- |
|  | ###### GPM | ∆P (ft) | ###### ∆T |
| 502B | 90 | 10.5 | 10 |
| 652B | 90 | 10.7 | 12 |
| 752B | 90 | 11.0 | 14 |
| 902B | 90 | 11.8 | 17 |

| Model | MBTUH |  | A Width | K | W | Amp Draw (w/ Pump) | Shipping Weight (Lbs.) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Input | Output |  |  |  |  |  |
| 502B | 500 | 425 | 50 | 6 | 22 | 13 | 545 |
| 652B | 650 | 553 | 60-1/2 | 8 | 27-1/4 | 13 | 590 |
| 752B | 750 | 638 | 67-1/2 | 8 | 30-3/4 | 13 | 675 |
| 902B | 900 | 765 | 78 | 8 | 36 | 14 | 740 |

Dimensions are in inches.

Ratings shown are for elevations up to 4,500 feet and for natural or propane gas.

For installation at elevations over 4,500 feet, please contact manufacturer.

#### Hi Delta – Type P

#### Models 502B – 902B (Cold Water Run Option)	Model

RATE OF FLOW AND PRESSURE DROP

| ###### Model | ###### Max. Flow |  |  |
| --- | --- | --- | --- |
|  | ###### GPM | ∆P (ft) | ###### ∆T |
| 502B | 90 | 10.5 | 10 |
| 652B | 90 | 10.7 | 12 |
| 752B | 90 | 11.0 | 14 |
| 902B | 90 | 11.8 | 17 |

| Model | MBTUH |  | A Width | K | W | Amp Draw | Shipping Weight (Lbs.) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Input | Output |  |  |  | Heater w/ Pump |  |
| P 502B | 500 | 425 | 50 | 6 | 22 | 13 | 655 |
| P 652B | 650 | 553 | 60-1/2 | 8 | 27-1/4 | 13 | 755 |
| P 752B | 750 | 638 | 67-1/2 | 8 | 30-3/4 | 13 | 815 |
| P 902B | 900 | 765 | 78 | 8 | 36 | 14 | 905 |

Dimensions are in inches.

Ratings shown are for elevations up to 4,500 feet and for natural or propane gas.

For installation at elevations over 4,500 feet, please contact manufacturer.

* Separate 120 VAC or 240 VAC 1Ø power required for Cold Water Run Option.

Injector pump ships loose for field installation at bypass inlet.

Raypak, Inc. ▪ 2151 Eastman Avenue, Oxnard, CA 93030 ▪ (805) 278-5300 ▪ Fax (805) 872-9725 ▪ www.raypak.com

Raypak, Inc. ▪ 2151 Eastman Avenue, Oxnard, CA 93030 ▪ (805) 278-5300 ▪ Fax (805) 872-9725 ▪ www.raypak.com