Job:

# Cold Water Start

## For Hi Delta®
Models 302B-902B

Engineer:

Contractor:

Prepared By: 	     		Date:

Model:  	     		Indoor/Outdoor:        	 	MBTUH Input:

- 100% Factory Fire Tested System

- PID Control Logic

- Fail Safe Operation

- Spring Return Actuator

- Adjustable Inlet Temperature 100º - 120ºF

Microprocessor Start-up Sequence

Hi Delta Boiler

Proudly Assembled in the USA

In-line Pump Available for Models 302B–752B;
Integral Pump Available for Models 502B–902B

*Pump selection based on 75 equivalent feet of piping equal to connection size.

Inline Pump

Models 302B - 752B

#### Cold Water Start

#### For Hi Delta 302B-902B 	Model

Integral Pump Models 502B - 902B

See also Hi Delta submittals:
Models 302B-902B – Catalog No. 2000.302

Raypak, Inc.    2151 Eastman Avenue, Oxnard, CA  93030    (805) 278-5300    Fax (800) 872-9725    www.raypak.com