# Stainless Steel              110-Gallon                    Non-ASME             Storage Tank

Job:

Engineer:

Contractor:

Prepared By: 	     		Date:

Model:

- 444 Stainless Steel Construction

- Fully Seam-Welded Construction

  - No Lining to Fail

- Fully Pickled and Passivated for Maximum Durability

- 100% Pressure Tested Tank and Coil

- R-18 – 3-1/4 Inch Thick High-Density Neopor® GPS Insulation

  - Graphite Impregnated for Superior Performance

- Indoor – Outdoor Installation

- UV Stable Polypropylene Jacket

- UV Stable EPS Caps Top and Bottom

- 150 PSI Max Pressure Rating

- 180 ͦF Maximum Tank Temperature

- 2 Inch NPT Water Connections

- Hand-Hole Inspection and Cleanout Port

- Sensor / Tankstat Drywell Standard

- No Anodes or Dielectric Fittings Required

- All Tank Connections are on the Side for Easy Installation in Low-Clearance Areas

- Commercial 5-Year Warranty

Stainless Steel Indirect Fired Storage Water Heater

Model Number

| Model | Shipping Weight Lb. (kg) | Operating Weight Lb. (kg) | Water Inlet/ Outlet | Diameter In./(mm) (A) | Height In./(mm) (B) | To Heater Height In./(mm) (C) | Water Outlet/T&P Height In./(mm) (D) | From Heater Height In./(mm) (E) | Drywell Height In./(mm) (F) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RSST110 | 150 (68) | 1100 (500) | 2 NPT | 31.3 (795) | 67.3 (1710) | 12.2 (310) | 54.8 (1392) | 22 (558) | 27.9 (708) |

Raypak, Inc. ▪ 2151 Eastman Ave., Oxnard, CA 93030 ▪ (805) 278-5300 ▪ Fax (800) 872-9725 ▪ www.raypak.com