Job:

# Raytherm® - Type H

## Hydronic Heating Boilers
Residential  Commercial

Model 133

Engineer:

Contractor:

Prepared By: 	     		Date:

Model:  	     		Indoor/Outdoor:

Indoor Model

EFFICIENT

- 82% thermal efficiency – highest of any atmospheric
boiler available today

THERMAL SHOCK PROOF

- Twenty-year warranty against thermal shock damage
up to 150°F differential

- Maximum operating temperature: 230°F

LIGHTWEIGHT

- A floor load of 70 lbs./sq. ft. or less

HIGH RECOVERY

- Cuts fuel costs substantially because the standby and
radiation losses normal to other boilers are eliminated

LOW WATER OPERATING TEMPERATURE

Operates with water temperature as low as 105°F
without condensing

Proudly Made in the USA

#### Heat Exchanger

- ASME Inspected and Stamped
160 PSIG

- National Board Approved

- Glass-lined Cast Iron Headers

- Copper Finned Tubing

- ASME Steel Tube Sheet

- Silicone O-Rings

- 45 PSIG ASME Pressure Relief Valve

- Temperature and Pressure Gauge, Shipped Loose

- Rear Water Connection

- Pump – Optional

Bronze, 1/8 HP, 120 Volt, 1 60 Hz

Cast Iron, 1/8 HP, 120 Volt, 1 
60 Hz

#### Controls

- 120V, 60Hz, 1 Ph Power Supply

- 120/24V Transformer

- 100% Pilot Shut-off/Lockout

- Electronic, Intermittent Ignition (IID) Pilot

- High Limit Control - Automatic

- On/Off Switch

- Operating Limit Control

- Economaster II Pump Time Delay

#### Gas Train

- Manual Main Gas Shut-off Cock

- Main Gas Pressure Regulator

- Redundant Safety Shut-off Valve

- Control Valve

- Mechanical Modulation (H1)

- Fuel

Natural Gas

Propane Gas

- Design Certified ANSI Z21.13/
CSA 4.9

#### Construction

- Front Controls

- Stainless Steel Burners

- Polytuf Powder Coat Finish

- Vent Selection

Draft Diverter (Indoor) – 
Option D-10

Stackless Top (Outdoor) – 
Option D-11

High-Wind Top (Outdoor) – 
Option D-13

- Base – Optional

Combustible Floor Shield – 
Option J-1

- Vent Damper – Indoor Residential models only

- CSA Certified – AB 1953 & VLA 193 Low Lead Compliant

NOTE: Unit cannot be installed 
outdoors in residential applications.

Raypak, Inc.    2151 Eastman Avenue, Oxnard, CA  93030    (805) 278-5300    Fax (800) 872-9725    www.raypak.com

Raytherm - Type H

Hydronic Heating Boilers		Model 133

| Model No. | Input MBTUH | Indoor |  | Outdoor | Power Requirements 120 VAC |  | Shipping Weight Lbs. (Approx.) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Output MBTUH | AFUE | Output MBTUH | With Pump | Without Pump |  |
| H-133 | 136 | 112 | 82.7% | 109 | < 10 Amps | < 1 Amp | 160 |

NOTES:

Ratings shown are for elevations up to 2,000 feet. For elevations over 2,000 feet, reduce
ratings at the rate of 4% for each 1,000 feet above sea level.

###### BOILER RATE OF FLOW AND PRESSURE DROP

| 10T |  | 20T |  | 30T |  | 40T |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| GPM | P FT. | GPM | P FT. | GPM | P FT. | GPM | P FT. |
| 22 | 14.7 | 11 | 3.8 | N/A | N/A | N/A | N/A |