Job:

Engineer:

Contractor:

Prepared By: 	     		Date:

Features

- Low-profile

- Wind-resistant

- Lightweight

- Outdoor use

- Includes covers for combustion air inlet, 
flow switch and pump

# Text boxes

# Outdoor Stack Assembly

## For Hi Delta®
Models 302B – 2342B

Raypak, Inc.  (  2151 Eastman Avenue, Oxnard, CA  93030  (  (805) 278-5300  (  Fax (800) 872-9725  (  www.raypak.com

| Hi Delta Model No. | Part No. | D | E | K |
| --- | --- | --- | --- | --- |
| 302B | 010793 | 9 ½ | 7 ½ | 5 |
| 402B-502B | 010794 | 11 | 9 | 6 |
| 652B-902B | 010795 | 12 | 10 | 8 |
| 992B | 010796 | 12 ½ | 10 ½ | 10 |
| 1262B-1532B | 010797 | 14 | 12 | 12 |
| 1802B-2072B | 010798 | 16 | 14 | 14 |
| 2342B | 010799 | 17 | 16 | 16 |